VIZOP SPECIFICATION
 ALARM RATIONALIZATION – ALARM LIST VIEWPORT

Level: 3
Version: 0.1 (under initial construction)

INTRODUCTION
This document defines the Viewport that shows a list of alarms existing in an Alarm Rationalization (AR) PHA object.

MAIN FUNCTIONS
The key functions of the alarm list Viewport are:
- Display alarms in a table
- Allow the user to switch on and off groups of columns according to the functional category of the attributes (e.g. operator response, tuning parameters, classification)
- Allow the user to set filters on all visible columns
- Display brief statistics relating to the list of alarms
- Allow the user to select ≥1 alarm for attribute editing
- Allow the user to go to 1 or 2 alarms for rationalizatioin (via the “rationalize one alarm” Viewport)

As the alarm list may be very large (possibly tens of thousands of alarms, and up to 50 columns), the implementation must allow the GUI to work smoothly even with large alarm sets.

DISPLAY LAYOUT

See below for meaning of [1], [2] etc.

<static> Viewing A of B alarms [1]
<static> Show:	<checkbox> Identity [2]		<checkbox> Setpoint	<checkbox> Operator information
	<checkbox> Priority		<checkbox> Classification	<checkbox> Tuning		<checkbox> Advanced
		<static> Filters
<checkbox> (no label) [3]	<button> (left arrow) [4]	<TextCtrl> AlarmTag filter	Other filter widgets according to alarm list columns visible				<button> (right arrow) [5]
<divider>
<checkbox> (no label) [6]	<button> Go [7]	<TextCtrl> (alarm tag) (read-only)	<grid> alarm list showing row titles, followed by as many rows and columns as possible in the available space. Vertical scrollbar needed.

WIDGETS IN DISPLAY LAYOUT

[1] Shows alarm statistics, see below
[2] These 7 checkboxes determine which categories of alarm attributes are shown, see below
[3] This is the “select/deselect all” checkbox
[4] Scrolls the alarm list to the left, i.e. increments the index of columns currently shown in the grid. Disabled if no further columns are available to the right of the last visible column.
[5] Scrolls the alarm list to the right. Similar to [4].
[6] Selects/deselects one alarm. One checkbox per visible row in the grid. Need to be aligned with grid rows.
[7] “Go” button for one alarm. One button per visible row in the grid. Need to be aligned with grid rows.

SIZERS IN DISPLAY LAYOUT
Sizers are used to implement the display layout above, as shown below. (This image is in AlarmListSizers.png)

ALARMS LISTED

The alarms listed in the table will be listed in the order they exist in the Alarms attribute of the AR object, i.e. the order in which they were created or imported.
The alarms shown will depend on the filter(s) applied. See below.

ATTRIBUTES DISPLAYED
The following alarm attributes will be displayed, in the order shown below (left to right on the screen). They are grouped into the categories shown below, with checkboxes to turn on and off each category. Attribute meanings are listed in the “Alarm rationalization overview” spec.

The initial default is: Checked: Identity, Operator information, Priority. Unchecked: Setpoint, Classification, Tuning, Advanced. Selection of attribute categories is per AR object and is persistent.

Attribute	Category	Notes
AlarmTag	Always visible. Does not scroll off the screen.
InstrTag	Identity
AlarmType	Identity
ProcessUnit	Identity
Comment	Identity
Status	Identity
Setpoint	Setpoint
EngUnit	Setpoint
IsDiscrete	Setpoint
Causes	Operator information	Shows all causes, sequentially numbered, separated by newlines
Consequences	Operator information	Shows all consequences, sequentially numbered, separated by newlines
Confirmation	Operator information
Operator action	Operator information	Shows all operator actions, sequentially numbered, separated by newlines
ResponseTimeRequired	Priority
ResponseTimeAvailable	Priority
Severity	Priority
AutoPriority	Priority
UserPriority	Priority
OverridePriority	Priority
Classification	Classification	Shows a list of all categories to which this alarm is assigned, separated by newlines
OnDelay	Tuning
OffDelay	Tuning
PVAveraging	Tuning
Deadband + DeadbandUnit	Tuning
Suppression	Advanced alarming	Lists the kinds of suppression used for this alarm, separated by newlines. E.g. “First-out \n Dynamic suppression”

FILTERS

The user can filter the alarm list on any filterable column. Filterable columns are all visible columns (i.e. columns whose category checkboxes are checked, even if the columns themselves are scrolled off the screen, and columns that are always visible).

The user can set a filter on ≥0 columns. If 0 filters are set, all alarms in the AR object will be listed. If >1 filter is set, the filters will be applied with AND logic.

Above each filterable column, a filter widget is provided. The value of the filter widget is persistent, i.e. if the user exits the alarm list Viewport and re-enters, the same filter values will be reinstated.
Filter widgets vary in type according to the attribute shown in the column. Filter widget types can be as shown below.

Where possible:
- Text filters will dynamically update. As soon as the user changes the value in the textbox, the alarm list will immediately update to the new filter setting. (However, we must be careful this doesn't cause lag in response to user's key presses.)
- Checklist options will show the number of hits in brackets after each option. If another filter is already set, 2 values will be shown, in the form “(A/B)”: the number of hits that will actually appear after applying the existing filter and the checklist filter, and the total number of hits in the whole alarm list. Again, we must not cause GUI lag by the task of counting potential hits.

Widget type	Applies to attributes	Default value
Text	AlarmTag, InstrTag, ProcessUnit, Comment, Setpoint, Causes, Consequences, Confirmation, Operator action, ResponseTimeRequired (if absolute), ResponseTimeAvailable (if absolute), OnDelay, OffDelay, PVAveraging, Deadband	*
CheckList	List shows all values represented in the alarm list, plus a “Show all” option at the top of the list. Attributes: AlarmType, Status, EngUnit, ResponseTimeRequired (if category), ResponseTimeAvailable (if category), Severity, AutoPriority, UserPriority, Classification (offering all classifications to which any alarms are currently assigned, plus a “No classification” option), Suppression (offering all kinds of suppression currently used)	Show all
Choice for bool	List shows “Show all”, “Yes” and “No” options. For use with boolean attributes: IsDiscrete, OverridePriority	Show all

ALARM STATISTICS

The alarm list will always show:
- The number of alarms currently visible (after applying the filter)
- The total number of alarms in the list

More detailed statistics, such as priority distribution, can be provided through the AR report Viewport.

SELECTING ALARMS FOR EDITING AND RATIONALIZATION

Each visible alarm is provided with a “select” checkbox (unlabelled checkbox) and a “Go” button. These will be in the leftmost column and always on screen (not scrolled off to the left).

The “Go” button closes the Alarm list Viewport and jumps to the Rationalize One Alarm Viewport, showing the corresponding alarm.

The “select” checkbox allows the user to select which alarms to bulk-edit attributes. Clicking the “Go” button on an alarm that is not selected will make Vizop treat that alarm as if it is selected (but does not actually select it, to avoid user confusion).
If the user clicks the “Go” button when exactly 2 alarms are selected, the Rationalize One Alarm Viewport will open in side-by-side mode, showing both alarms.
If the user clicks “Go” when >2 alarms are selected, only the “Go”-clicked alarm will open. Any edits to attributes in the opened alarm will be applied to all selected alarms as well, where possible. A message in the Rationalize Alarm Viewport will notify the user that this bulk editing is happening.
If the user clicks “Go” with 0 or 1 alarm selected, the “Go”-clicked alarm is opened and attributes changed are applied to that alarm only.

Above the “select” checkbox column, a “master select” checkbox is provided. Checking it will make all the individual select checkboxes become checked. Unchecking it will uncheck all individual select checkboxes.

The initial state of all select checkboxes is unchecked.

Select checkbox status is persistent.

Selected alarms that are currently filtered-out will be treated as unselected, to avoid user confusion or inadvertent changing of filtered-out alarms' attributes.

POSSIBLE FUTURE FEATURES TO ADD

Edit-in-place for some attributes
Change sort order of alarms