ALARM HANDLING DISPLAY MODEL SPEC
Started 4 Aug 2018

Display models required:
- Single alarm
- Alarm list
Reports required:
- Alarm list export

SINGLE ALARM DISPLAY
Initial draft. Later, need to develop tabs to show all additional fields such as usage as IPL.

RATIONALIZE A SINGLE ALARM				Unit	<text> e.g. 76 DCU
Instrument tag	<text> e.g. PI-123	Alarm type	<text> e.g. H	Classification	<choice> available alarm classes
Design intent	<text> e.g. Prevent trip of DCU on PAHH-200
Events	<grid>
	#	HAZOP ref	Cause	Next consequence	Severity	Urgency

	Add <button>	Delete <button>	Move up <button>	Move down <button>
Operator guidance	<text> e.g. Adjust PV-231 manually
Priority	Auto	<text> Automatically selected priority
	<checkbox> Override	<choice> Available priorities	Reason for override	<text>
<gap>
	Delay times <button>		Grouping <button>		Suppression <button>
	Copy from... <button>		Copy to... <button>

Fields to add later:
- Setpoint
- Change buttons for other aspects into tabs
- How to verify alarm
- Set up classifications <button>